{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["院本部","东院区"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"院本部","index":0,"n_rows":84,"n_cols":10,"rows_kept":84,"merged":[[0,2,0,8],[1,0,1,2],[1,3,1,7],[2,0,2,1],[3,0,5,1],[6,0,25,1],[15,2,16,2],[18,2,20,2],[22,2,25,2],[26,0,26,5],[28,0,28,2],[28,3,28,7],[29,0,29,1],[30,0,31,1],[32,0,33,1],[34,0,40,1],[35,2,37,2],[41,0,80,1],[43,2,45,2],[51,2,57,2],[59,4,60,4],[59,5,60,5],[59,6,60,6],[59,7,60,7],[59,8,60,8],[59,9,60,9],[81,0,81,5],[83,0,83,8]],"flags":["formulas_cached_only"]}
[null,null,"广医附属番禺中心医院"]
["附件 1：",null,null,"检定设备清单"]
["设备类别",null,"计量器具名称","二级分类","频次","预估数量","单价(元)","小计费用","备注"]
["医用超声源",null,"B 超机、彩超机","B 超机、彩超机","1次/年",57]
[null,null,"胎儿监护仪","胎儿监护仪","1次/年",35]
[null,null,"多普勒胎心音仪","多普勒胎心音仪","1次/年",33]
["其他",null,"医用磁共振系统\nMRI","医用磁共振系统\nMRI","1次/年",3]
[null,null,"CT","CT","1次/年",8]
[null,null,"X光射线系统","DR、C臂、DSA","1次/年",16]
[null,null,"辐射监测仪器","个人剂量报警仪、表面污染仪、环境级X、Y辐射测量仪、防护级X、Y辐射巡测仪","1次/年",9]
[null,null,"激光治疗仪","激光治疗仪","1次/年",3]
[null,null,"血氧饱和度检测仪","血氧饱和度检测仪","1次/年",132,{"$nulls":3},"按检定规程，出具检定合格证书"]
[null,null,"分光光度计","分光光度计","1次/年",1]
[null,null,"酶标仪","酶标仪","1次/年",0]
[null,null,"原子吸收光谱仪","原子吸收光谱仪","1次/年",0]
[null,null,"非强检压力表","压力表（精密)","1次/年",5]
[{"$nulls":3},"压力表","2次/年",12]
[null,null,"带表卡尺","带表卡尺","1次/年",2]
[null,null,"电子天平","I级电子天平","1次/年",6]
[{"$nulls":3},"II级电子天平","1次/年",2]
[{"$nulls":3},"III级电子天平","1次/年",6]
[null,null,"架盘药物天平","架盘药物天平","1次/年",3]
[null,null,"体重秤、称类（检定）","非自动衡器、电子秤等（20～60）kg","1次/年",7]
[{"$nulls":3},"非自动衡器、电子秤等（150～500）kg","1次/年",2]
[{"$nulls":3},"电子婴儿秤等","1次/年",15]
[{"$nulls":3},"戥秤、度盘秤","1次/年",11]
["检定类合计（元）："]
[]
["附件 2：",null,null,"校准设备清单"]
["设备类别",null,"计量器具名称","二级分类","频次","预估数量","单价(元)","实际费用","备注"]
["抢救急救类",null,"呼吸机","呼吸机","1次/年",86]
[null,null,"血液灌流机","血液灌流机","1次/年",2]
["手术类",null,"高频电刀","高频电刀","1次/年",28]
[null,null,"麻醉机","麻醉机","1次/年",30]
["治疗类",null,"输液泵","输液泵","1次/年",269]
[null,null,"注射泵","注射泵（单通道）","1次/年",793]
[{"$nulls":3},"注射泵（双通道）","1次/年",34]
[{"$nulls":3},"注射泵（三通道）","1次/年",1]
[null,null,"血液透析机","血液透析机","1次/年",77]
[null,null,"婴儿培养箱","婴儿培养箱","1次/年",38]
[null,null,"婴儿辐射保暖台","婴儿辐射保暖台","1次/年",15]
["其他类\n",null,"生物安全柜","生物安全柜","1次/年",9]
[null,null,"灭菌器","灭菌器","1次/年",0]
[null,null,"疫苗储存箱、  医用冰箱、    药品储存箱","-5℃～常温","1次/年",43]
[{"$nulls":3},"(-30～-5)℃","1次/年",22]
[{"$nulls":3},"(-80～-30)℃","1次/年",27]
[null,null,"水浴箱","水浴箱","1次/年",7]
[null,null,"培养箱","培养箱","1次/年",23]
[null,null,"生物显微镜","生物显微镜","1次/年",6]
[null,null,"离心机","离心机","1次/年",25]
[null,null,"温湿度计（表）","温湿度计（表）","1次/年",745]
[null,null,"体重秤、称类（校准）","非自动衡器、电子秤等（60～150）kg(含150kg)","1次/年",3]
[{"$nulls":3},"模拟指示秤等（60~1000）kg","1次/年",58]
[{"$nulls":3},"模拟秤","1次/年",0]
[{"$nulls":3},"非自动衡器、电子秤等（20~60）kg (含60kg)","1次/年",14]
[{"$nulls":3},"电子婴儿秤等","1次/年",16]
[{"$nulls":3},"度盘秤","1次/年",9]
[{"$nulls":3},"身高体重秤","1次/年",27]
[null,null,"电子天平","电子天平","1次/年",1]
[null,null,"移液计","移液计","1次/年",282]
[null,null,"加样枪","加样枪"]
[null,null,"瓶口分液器","瓶口分液器","1次/年",1]
[null,null,"酒精测试仪","酒精测试仪","1年2次",4]
[null,null,"电子体温计","红外体温计","1次/年",42]
[null,null,"玻璃温度计","玻璃温度计","1次/年",41]
[null,null,"冰箱温度计","冰箱温度计","1次/年",185]
[null,null,"压力表","压力表（校准）","2次/年",33]
[null,null,"温度记录仪","温度记录仪","1次/年",5]
[null,null,"浮标式氧气吸入器","浮标式氧气吸入器","1次/年",0]
[null,null,"干燥箱","干燥箱","1次/年",6]
[null,null,"数显角度尺","数显角度尺","1次/年",0]
[null,null,"电导率仪","电导率仪","1次/年",1]
[null,null,"荧光分光光度计","荧光分光光度计","1次/年",1]
[null,null,"液基薄层细胞制片机","液基薄层细胞制片机","1次/年",1]
[null,null,"二氧化碳培养箱","二氧化碳培养箱","1次/年",1]
[null,null,"玻璃量器","分度吸管","1次/年",16]
[null,null,"干式恒温器","干式恒温器","1次/年",0]
[null,null,"洁净工作台","洁净工作台","1次/年",0]
[null,null,"麦氏比浊仪","麦氏比浊仪","1次/年",0]
[null,null,"细菌鉴定仪","细菌鉴定仪","1次/年",0]
[null,null,"手工配血系统","手工配血系统","1次/年",1]
["校准类合计（元）："]
[]
["广医附属番禺中心医院计量服务费用报价共：             元"]

{"sheet":"东院区","index":1,"n_rows":74,"n_cols":10,"rows_kept":74,"merged":[[0,1,0,8],[1,0,1,1],[1,2,1,6],[2,2,2,3],[3,0,5,0],[3,2,3,3],[4,2,4,3],[5,2,5,3],[6,0,22,0],[6,2,6,3],[7,2,7,3],[8,2,8,3],[9,2,9,3],[10,2,10,3],[10,9,11,9],[11,2,11,3],[12,2,12,3],[13,1,14,1],[13,2,13,3],[14,2,14,3],[15,2,15,3],[16,1,18,1],[16,2,16,3],[17,2,17,3],[18,2,18,3],[19,2,19,3],[20,1,22,1],[20,2,20,3],[20,9,22,9],[21,2,21,3],[22,2,22,3],[23,0,23,5],[25,0,25,1],[25,2,25,6],[26,2,26,3],[27,0,28,0],[27,2,27,3],[28,2,28,3],[29,0,30,0],[29,2,29,3],[30,2,30,3],[31,0,37,0],[31,2,31,3],[32,1,34,1],[32,2,32,3],[33,2,33,3],[34,2,34,3],[35,2,35,3],[36,2,36,3],[37,2,37,3],[38,0,70,0],[38,2,38,3],[38,11,38,13],[39,2,39,3],[40,1,42,1],[40,2,40,3],[41,2,41,3],[42,2,42,3],[43,2,43,3],[44,2,44,3],[45,2,45,3],[46,2,46,3],[47,2,47,3],[48,2,48,3],[49,2,49,3],[50,1,56,1],[50,2,50,3],[51,2,51,3],[52,2,52,3],[53,2,53,3],[54,2,54,3],[55,2,55,3],[56,2,56,3],[57,2,57,3],[58,2,58,3],[59,2,59,3],[60,2,60,3],[61,2,61,3],[62,2,62,3],[63,2,63,3],[64,2,64,3],[65,2,65,3],[66,2,66,3],[67,2,67,3],[68,2,68,3],[69,2,69,3],[70,2,70,3],[71,0,71,5],[73,0,73,8]],"flags":["formulas_cached_only"]}
[null,"番禺区第七人民医院"]
["附件 1：",null,"检定设备清单"]
["设备类别","计量器具名称","二级分类",null,"周期","预估数量","单价(元)","小计费用","备注"]
["医用超声源","B 超机、彩超机","B 超机、彩超机",null,"1次/年",11]
[null,"胎儿监护仪","胎儿监护仪",null,"1次/年",5]
[null,"多普勒胎心音仪","多普勒胎心音仪",null,"1次/年",6]
["其他","医用磁共振系统\nMRI","医用磁共振系统\nMRI",null,"1次/年",0]
[null,"X射线机","DR、C臂、DSA",null,"1次/年",3]
[null,"CT机","CT机",null,"1次/年",2]
[null,"酶标仪","酶标仪",null,"1次/年",1]
[null,"放射治疗用电离室剂量计","放射治疗用电离室剂量计",null,"1次/年",0]
[null,"医用活度计","医用活度计",null,"1次/年",0]
[null,"血氧饱和度检测仪","血氧饱和度检测仪",null,"1次/年",20,{"$nulls":3},"新增，按检定规程，出具检定合格证书"]
[null,"非强检压力表","压力表（精密)",null,"1次/年",0]
[null,null,"压力表",null,"2次/年",0]
[null,"带表卡尺","带表卡尺",null,"1次/年",0]
[null,"电子天平","I级电子天平",null,"1次/年",0]
[null,null,"II级电子天平",null,"1次/年",0]
[null,null,"III级电子天平",null,"1次/年",1]
[null,"架盘药物天平","架盘药物天平",null,"1次/年",0]
[null,"体重秤、称类（检定）","非自动衡器、电子秤等（150～500）kg(含500kg)",null,"1次/年",0]
[null,null,"电子婴儿秤等",null,"1次/年",0]
[null,null,"戥秤、度盘秤",null,"1次/年",0]
["检定类合计（元）："]
[]
["附件 2：",null,"校准设备清单"]
["设备类别","计量器具名称","二级分类",null,"周期","预估数量","单价(元)","实际费用","备注"]
["抢救急救类","呼吸机","呼吸机",null,"1次/年",6]
[null,"血液灌流机","血液灌流机",null,"1次/年",0]
["手术类","高频电刀","高频电刀",null,"1次/年",0]
[null,"麻醉机","麻醉机",null,"1次/年",3]
["治疗类","输液泵","输液泵",null,"1次/年",19]
[null,"注射泵","注射泵（单通道）",null,"1次/年",47]
[null,null,"注射泵（双通道）",null,"1次/年",3]
[null,null,"注射泵（三通道）",null,"1次/年",1]
[null,"血液透析机","血液透析机",null,"1次/年",20]
[null,"婴儿培养箱","婴儿培养箱",null,"1次/年",0]
[null,"婴儿辐射保暖台","婴儿辐射保暖台",null,"1次/年",2]
["其他类\n","生物安全柜","生物安全柜",null,"1次/年",2]
[null,"灭菌器","灭菌器",null,"1次/年",2]
[null,"疫苗储存箱、  医用冰箱、    药品储存箱","-5℃～常温",null,"1次/年",23]
[null,null,"(-30～-5)℃",null,"1次/年",2]
[null,null,"(-80～-30)℃",null,"1次/年",0]
[null,"水浴箱","水浴箱",null,"1次/年",4]
[null,"培养箱","培养箱",null,"1次/年",1]
[null,"生物显微镜","生物显微镜",null,"1次/年",4]
[null,"离心机","离心机",null,"1次/年",5]
[null,"温湿度计（表）","温湿度计（表）",null,"1次/年",141]
[null,"血小板恒温振荡保存箱","血小板恒温振荡保存箱",null,"1次/年",1]
[null,"二氧化碳培养箱","二氧化碳培养箱",null,"1次/年",1]
[null,"体重秤、称类（校准）","非自动衡器、电子秤等（60～150）kg(含150kg)",null,"1次/年",6]
[null,null,"模拟指示秤等（60~1000）kg",null,"1次/年",4]
[null,null,"模拟秤",null,"1次/年",0]
[null,null,"非自动衡器、电子秤等（20~60）kg (含60kg)",null,"1次/年",1]
[null,null,"电子婴儿秤等",null,"1次/年",0]
[null,null,"度盘秤",null,"1次/年",2]
[null,null,"身高体重秤",null,"1次/年",0]
[null,"电子天平","电子天平",null,"1次/年",0]
[null,"移液计","移液计",null,"1次/年",28]
[null,"酒精测试仪","酒精测试仪",null,"1次/年",0]
[null,"电子体温计","红外体温计",null,"1次/年",25]
[null,"玻璃温度计","玻璃温度计",null,"1次/年",2]
[null,"冰箱温度计","冰箱温度计",null,"1次/年",2]
[null,"压力表","压力表（校准）",null,"半年",0]
[null,"温度记录仪","温度记录仪",null,"1次/年",6]
[null,"浮标式氧气吸入器","浮标式氧气吸入器",null,"1次/年",0]
[null,"干燥箱","干燥箱",null,"1次/年",5]
[null,"数显角度尺","数显角度尺",null,"1次/年",0]
[null,"电导率仪","电导率仪",null,"1次/年",0]
[null,"液基薄层细胞制片机","液基薄层细胞制片机",null,"1次/年",0]
[null,"手工配血系统","手工配血系统",null,"1次/年",0]
["校准类合计（元）："]
[]
["番禺区第七人民医院计量服务费用报价共：             元"]